## Video Cable
Video Cable Quantities
DIXIELAND RD.
| No. of Cables | Length | Quantity
| 8 | 35 | 280
| 8 | 25 | 200
| 8 | 2 | 16
| 8 | 2 | 16
| 3 | 131 | 393
| 3 | 120 | 360
| 1 | 119 | 119
| 1 | 137 | 137
1521
Video Cable Quantities
8TH ST.
| No. of Cables | Length | Quantity
| 8 | 35 | 280
| 8 | 25 | 200
| 8 | 2 | 16
| 8 | 2 | 16
| 3 | 123 | 369
| 3 | 155 | 465
| 2 | 28 | 56
| 1 | 124 | 124
| 1 | 159 | 159
1685

## Video Cable 13TH ST
VIDEO CABLE
POLE X TO CONTROLLER
DESCRIPTION | V.C. - P | + @ V.C. | P.H. | TUBE LEN. | + @ P.F. | CON. L. | + @ P.B. | + @ CONT. | TOTAL
A- CONTROLLER | [5 empty] | 10 | 3 | 10 | 23
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
A - V5 | 45 | 2 | 21 | 3 |  |  |  |  | 71
[7 empty] | SUB TOTAL |  | 94
COPY TABLE AND INSERT COPIED CELLS, THEN SUM ALL SUB TOTALS TOTAL QUANTITY
TOTAL VIDEO CABLE = | [8 empty] | 94

## Stage 2 5c-14 AWG
Checked By
5c/14 A.W.G.
POLE X TO CONTROLLER/PULL BOX
DESCRIPTION | S.H. - P | + @ S.H. | P.H. | + @ P.F. | CON. L. | + @ P.B. | + @ CONT. | TOTAL
C | 25 | 8 | 21 | 6 |  |  |  | 60
C | 36 | 8 | 21 | 6 |  |  |  | 71
[6 empty] | SUB TOTAL |  | 131
COPY TABLE AND INSERT COPIED CELLS, THEN SUM ALL SUB TOTALS TOTAL QUANTITY
TOTAL 5c/14 A.W.G. =

## Stage 2 7c-14 AWG
Checked By
7c/14 A.W.G.
POLE X TO CONTROLLER/PULL BOX
DESCRIPTION | S.H. - P | + @ S.H. | P.H. | TOTAL
C | 47 | 10 | 21 | 78
|  | SUB TOTAL |  | 78
COPY TABLE AND INSERT COPIED CELLS, THEN SUM ALL SUB TOTALS TOTAL QUANTITY
TOTAL 7c/14 A.W.G. =

## Stage 2 Video Cable 13TH
VIDEO CABLE
POLE X TO CONTROLLER
DESCRIPTION | V.C. - P | + @ V.C. | P.H. | TUBE LEN. | + @ P.F. | CON. L. | + @ P.B. | + @ CONT. | TOTAL
CONTROLLER TO PB1 | [5 empty] | 84 | 3 | 10 | 97
PB1 TO PB2 | [5 empty] | 84 | 6 |  | 90
PB2 TO POLE C |  |  |  |  | 6 | 5 | 3 |  | 14
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
C - V5 | 47 | 2 | 21 | 3 |  |  |  |  | 73
[7 empty] | SUB TOTAL |  | 274
COPY TABLE AND INSERT COPIED CELLS, THEN SUM ALL SUB TOTALS TOTAL QUANTITY
TOTAL VIDEO CABLE = | [8 empty] | 274