Description:  Section 106, Control of Material, of the Standard Specifications for Highway Construction, Edition of 2014, is hereby amended as follows:

The following is added as Subsection 106.01(c) Construction Materials

Buy America – Construction Materials.  (1) General.  The Bipartisan Infrastructure Law (BIL) was enacted on November 15, 2021 (BIL Build America, Buy America Act Publication L.  No. 117-58).  This provision expands the Buy America requirements beyond what was only required for steel and iron products.  The steel and iron provisions have not changed with the new law.  Buy America requirements are in effect only on Federal-Aid contracts and all construction materials shall be produced/manufactured in the United States.   Items specifically excluded from this requirement are cement and cementitious materials; aggregates such as stone, sand, or gravel; aggregate binding agents or additives (including asphalt binders).  All other materials permanently incorporated into the project will be subject to Buy America requirements.

(2) Definitions.  A construction material includes an article, material, or supply that is or consists primarily of:

- non-ferrous metals;

- plastic and polymer-based products (including polyvinylchloride, composite building materials, and polymers used in fiber optic cable);

- glass (including optic glass);

- lumber; or

- drywall.

All construction materials shall be produced in the United States.  This means all manufacturing processes to produce the construction materials shall occur in the United States.  All manufacturing processes for construction materials shall mean the final manufacturing process and the immediately preceding manufacturing stage for the construction material.

All manufactured products permanently incorporated into the project must be manufactured in the United States or assembled from components that are mined, produced, or manufactured in the United States.  The combined value of the domestic components of a manufactured product must be greater than 55 percent of the total cost of all components of the manufactured product.

(3) Compliance.  All prospective bidders should obtain quotes from suppliers that can furnish the required domestic manufactured materials and the cost of such should be included in the contract unit prices bid for the various individual pay items.   Waivers will only be considered when there is no domestic manufacturer of the specific item meeting the requirements in the appropriate section of the Standard Specifications.   Questions relating to domestic product availability should be made pre-bid and responses, including possible waivers, will be posted on the Department’s website.

The Contractor shall ensure that all manufacturing processes for each covered product comply with this Buy America Provision.  Non-conforming products shall be replaced at no expense to the Department.  It is the contractor’s responsibility to assure all submittals required for Buy America are submitted to the Engineer prior to the products and or materials being incorporated into the project.

Buy America requirements do not apply to temporary elements not permanently incorporated into a project.  This includes falsework, temporary sheet piling, detour bridges, temporary elements left in place at the contractor’s convenience, unless the contract plans and specifications require steel or iron components or imply that the item be left in place, or items that are simply moved from one place to another within the same project.  Buy America only applies to construction materials that are consumed in, incorporated into, or affixed to an infrastructure project.  As such, it does not apply to tools, equipment, and supplies, such as temporary scaffolding, removed at or before completion of the project.

(4) Certification.  The contractor shall provide a certification from the supplier for each construction material, stating that it meets the provisions of this specification or the Build America/Buy America act, prior to incorporating any construction material into the project.  The supplier certifying may be the original manufacturer, fabricator, or vendor provided the supplier has sufficient control and knowledge of the manufacturing process to accept responsibility and certify full and complete conformance with the certification.  In lieu of the manufacturer’s certification, the Contractor or supplier may provide the Domestic Materials Self-Certification Form for the specific product from AASHTO’s Product Evaluation & Audit Solution’s datamine (www.transportation.org/product-evaluation-and-audit-solutions) or from the NEMA Make it American BABA Registry (https://www.makeitelectric.org/nema-programs/make-it-american/nema-make-it-american/).

(5) Examples of Pay Items Affected.  The following are items from the Standard Specifications and common special provisions that must meet the requirements of this specification.  This list is provided for bidders’ information and is not to be considered as all-inclusive as other items covered by the standard specifications, supplemental specifications, and special provisions may also fall under these requirements:

| Non-Ferrous Metals |  |
| --- | --- |
| Item | Specification Section |
| Aluminum Pipe Culverts | 606 |
| Aluminum Chain Link Fence | 619 |
| Aluminum Gates | 619 |
| Mailboxes | 637 |
| Electrical Conductors | 700, 708 |
| Controller Cabinet (cabinet assembly) | 701, 702,703 |
| Ground Rods | 701, 712, 714, 715 |
| System Local Controller/Actuated Controller components (surge protector, conflict monitor, switches, flashers, relays, wiring harness, clocks, etc.) | 701. Job SP |
| Pre-Timed Controller (cabinet and internal equipment) | 702 |
| Flashing Beacon Controller (cabinet and all internal equipment) | 703 |
| Loop Wiring | 704 |
| Vehicle Detectors (including all electrical components and mounting racks) | 704 |
| Feeder Wire | 704 |
| Preformed Detector Loops | 704 |
| Loop Wiring in Duct | 705 |
| Traffic Signal Heads (all types) | 706, Job SP |
| Pedestrian Signal Heads | 707 |
| Traffic Signal Cable | 708 |
| Sign Supports - all types (including clips and fasteners) | 724, 730 |
| Sign Panels (including clips and fasteners) | 723, 725, 726, 727, 728 |
| Video Detectors (detector, processor, and other equipment) | 733 |
| Video Cable | 733 |
| Metal Bridge Railing | 806 |
| Bronze or Copper Alloy Bearing and Expansions Plates | 807 |
| Bridge Name Plates | 812 |
| Accessible Pedestrian Signals (APS) | Job SP |
| Electrical Conductors for Luminaires | Job SP |
| Electrical Conductors-in-Conduit | Job SP |
| LED Roadway Illumination Poles | Job SP |
| Luminaires | Job SP |
| Pedestal Type Service Point Assembly | Job SP |
| Retroreflective Backplates | Job SP |
| Wrong Way Detection System Controller Cabinet | Job SP |
| Copper plumbing lines and fittings | Job SP |

| Plastic/Polymer Based Products |  |
| --- | --- |
| Item | Specification Section |
| Joint Sealers (Types 3 and 4) | 501,503, 504,507,509 |
| Epoxy Coating for Dowel Bars and Reinforcing Steel | 501, 502, 507, 804 |
| Epoxy Resin Anchoring Systems (Dowel Bars, Hand Rails, Metal Bridge Railing, Anchor Bolts) | 507, 633, 806, 807 |
| Polyethylene Pipe Culverts | 606 |
| PVC Pipe Culverts | 606 |
| RC Pipe Culvert Gaskets | 606 |
| Drop Inlet Steps | 609, 610, 640 |
| ABS or Polyethylene Pipe for Underdrains | 611 |
| PVC Pipe for Underdrain Laterals | 611 |
| Filter Fabrics | 611, 625, 629, 816 |
| Geotextile Fabrics | 625 |
| Tactile Panels for Wheelchair Ramps | 641, Job SP |
| System Local Controller/Actuated Controller components (surge protector, conflict monitor, switches, flashers, relays, wiring harness, clocks, etc.) | 701, Job SP |
| Pre-Timed Controller (internal equipment) | 702 |
| Flashing Beacon Controller (all internal equipment) | 703 |
| Vehicle Detectors (all electrical components) | 704 |
| Traffic Signal Heads (all types) | 706, Job SP |
| Pedestrian Signal Heads | 707 |
| Non-Metallic Conduit (PE & PVC) | 710 |
| Paint for Reflectorized Paint Pavement Markings | 718 |
| Thermoplastic Pavement Markings (all) | 719 |
| Permanent Pavement Marking Tape | 720 |
| Raised Pavement Markers (markers and epoxy adhesive) | 721 |
| Sand Barrels/Lids for Impact Attenuation Barriers | 731 |
| Video Detectors (detector, processor, and other equipment) | 733 |
| Paint Systems for Structural Steel | 807, 820 |
| Preformed Joint Seals | 809 |
| Silicone Joint Sealants | 809 |
| Accessible Pedestrian Signal (APS) components | Job SP |
| Cellular Modem | Job SP |
| Enhanced Thermoplastic Pavement Markings | Job SP |
| Ethernet Switch (all types) | Job SP |
| Geogrids (all types) | Job SP |
| Hybrid Video/Radar Detection System components | Job SP |
| Latex Modifier in Latex Modified Concrete Overlays | Job SP |
| Lightweight Panels for Sound Reflecting Noise Barriers | Job SP |
| Overhead Digital Message Sign Assembly | Job SP |
| Polymer Resin in Polymer Overlays | Job SP |
| Polypropylene Pipe Culverts | Job SP |
| PTZ Camera System | Job SP |
| Radar Detection System | Job SP |
| Wrong Way Detection System FLIR Thermal Sensor | Job SP |
| Wrong Way Detection System Solar Panel | Job SP |
| PVC piping and fittings for building projects | Job SP |

| Glass |  |
| --- | --- |
| Item | Specification Section |
| Glass Beads (drop on application) | 718, 719 |
| Fiber Optic Cable | Job SP |
| Solar Panels (Wrong Way Detection Systems and other ITS systems) | Job SP |
| Windows in Building Construction | Job SP |

| Lumber |  |
| --- | --- |
| Item | Specification Section |
| Wood Guard Rail Posts | 617, 639 |
| Wood Block Outs for Guardrail | 617,639 |
| Wood Posts for Guard Cable | 618 |
| Fence Posts and Braces (Type A, B, C and D) | 619 |
| Mailbox Supports | 637 |
| Treated Wood Poles | 716 |
| Treated Lumber | 817 |
| Treated Bridge Timbers | 817 |
| Timber Piling | 818 |
| Framing Lumber, Plywood, Trim Lumber in Building Construction | Job SP |

| Drywall |  |
| --- | --- |
| Item | Specification Section |
| Drywall in Building Construction | Job SP |