FAQ for Concrete

- What information needs to be submitted with the mix design?

  - ARDOT Mix Design Submittal form downloaded from website. Please verify that you are using the latest version.

    - Aggregate Sources

    - Cement Sources

    - Fly Ash Source

    - Water Source

    - Admixture Sources

    - Trial Batches, when required.

    - Data sheets for Admixtures not on QPL

  - Sources listed on the mix design submittal form must match the QPL.

  - Materials Division is assigning mix design IDs to each new design.

- How to I get a mix design preapproved?

  - Send the mix design submittal form to materials@ardot.gov.

- Can a submit a new mix design for approval and assign it to project in the same process?

  - Yes. Upload the mix design submittal form to the projects CONMAT – Mix Designs – Contractor Submittal and Approval drawer in DocExpress.

- How do I get an approved ARDOT concrete mix design assigned to a project?

  - Submit a letter requesting the ARDOT mix design ID and the project you are wishing to assign the design to.

  - Do not include the mix design submittal form with already approved ARDOT mix designs.

  - You can include a copy of the approved ARDOT mix design.

- I have a mix design that I would like to have approved that is not a typical design, how do I get it approved?

  - Upload the mix design submittal form and in either remarks or on a letterhead explain what item you would like to use it for and why you feel it needs the design change.

- What process does the mix design go through once submitted to DocExpress?

  - Under Review- The mix design is reviewed by the Area Engineer (AE) to verify the documentation.

  - More Information Required- If all the documentation that is not provided, the AE will transition it to this step with a comment of what is needed.

    - Additional Information Submitted- Once you have uploaded the information needed you must transition it to this step for the AE to know it has been done.

  - Review Complete- The AE transitions the mix design to receive an ARDOT mix ID.

  - Ready for Signature- A mix design letter has been created and it is ready for the Asst. Div. Head to sign the letter.

  - Published- The mix design is approved and ready for use on the project.

- Is a concrete mix design “location” specific for the plant?

  - Mix designs are company specific but not location specific.

    - Example: CJ Horner mix designs can be used at all their plant locations if all the source suppliers are the same.

- Is a new mix design required if the source changes for cement, fly ash, aggregate suppliers, or chemical admixtures?

  - Yes. If any source is changed, a new design is required.